Air to Water Heat Pump

High-temperature Hot-water Series, Low-ambient Air to Water Heat-pump, Efficient in -25°C

Model Number: DE-360W/DGW

Key Specifications/Special Features: Power supply: 380/3/50V/ph/Hz Heating capacity: 112kW Rate power input: 32kW Water temperatures: Maximum water temperature: 75°C (default) Adjustable range: 40 to 80°C (new) Refrigerant type: R134A (new) COP up to 4.0 Compressor: Copland ZW series EVI technology compressor Expansion valve: Emerson ALCO thermal expansion valve Heat-exchanger: tube in tube heat-exchanger Case materials: coated steel/#304 stainless steel, avoiding rust effectively and durable It enable the heat-pump to working well even when the ambient temperature is as low as -25°C OEM orders are welcome Payment Details: Payment Terms: Telegraphic Transfer in Advance (Advance TT, T/T) Delivery Details: FOB Port: Qingdao /Shanghai Lead Time: 20 - 25 days

Country of Origin:

- China (mainland)

Primary Competitive Advantages:

- Brand-name Parts

- Country of Origin

- Distributorships Offered

- Green Product

- Guarantee/Warranty

- International Approvals

- Product Performance

- Quality Approvals

- Service

- 18-month Warranty

Main Export Markets:

- Eastern Europe

- Mid East/Africa

- Asia

- Western Europe

- Australasia

http://www.heatpumpsupply.com