Air to Water Heat Pump

High-temperature Hot Water Series, Low-ambient Air to Water Heat Pump, Efficient in -25°C

Model Number: DE-27W/DGW

| Key Specifications/Special Features: Power supply: 380ph/3V/50Hz Heating capacity: 8.5kW Rate power input: 2.5kW Water temperatures: Maximum water temperature: 75°C (default) Adjustable range: 40 to 80°C (new) Refrigerant type: R134A (new) COP: up to 4.0 Compressor: Copland ZW series EVI technology compressor Expansion valve: Emerson ALCO thermal expansion valve Heat exchanger: tube in tube heat-exchanger Case materials: coated steel/#304 stainless steel, avoiding rust effectively and durable It enable the heat pump to work well even when the ambient temperature is as low as -25°C OEM orders are welcome Payment Details: Payment Terms: Telegraphic Transfer in Advance (Advance TT, T/T) Delivery Details: FOB Port: Qingdao/Shanghai Lead Time: 20 - 25 days | Country of Origin: China (mainland) Primary Competitive Advantages: Brand-name Parts Country of Origin Distributorships Offered Green Product Guarantee/Warranty International Approvals Product Performance Quality Approvals Service 18-month Warranty Main Export Markets: Eastern Europe Mid East/Africa Asia Western Europe Australasia |
| --- | --- |

Contact us today.

www.heatpumpsupply.com