## Domestic All in One Hot Water Air Source Heat Pump

Home » Products » Air Source Heat Pump » Domestic All in One Hot Water Air Source Heat Pump

Our domestic all in one hot water air source heat pump is one of the most economical systems to heat the water for family domestic use. Using free renewable energy from the air, the unit is highly efficient with low running costs. Its efficiency can be up to 3~4 times more than conventional gas boiler or electrical heater.

Key Features
1. The domestic all in one hot water air source heat pump can be installed outside the kitchen, in the fireplace or the garage, which has a large number of waste heat so that the unit has higher energy even in very low outside temperature during winter.
2. Our heat pump can be placed in the laundry room or clothing room. In addition, when it produces hot water it lower temperature and dehumidify the room as well.
3. This air source heat pump can be considered as a multipurpose product since it can work with solar panel, external heat pump, boiler, solar collector or other different energy source easily.

Technical Specification of Domestic All in One Hot Water Air Source Heat Pump (R410A)

| Technical Data | NTDHW-28-150L | NTDHW-28-200L | NTDHW-28-250L | NTDHW-28-300L |
| --- | --- | --- | --- | --- |
| Heating capacity | kW | 2.8 | 2.8 | 2.8 | 2.8 |
| Power input | W | 700 | 700 | 700 | 700 |
| COP | W/W | 4 | 4 | 4 | 4 |
| Power supply | V/Ph/Hz | 230/1/50 |
| Compressor | Rotary |
| Refrigerant type | R410A |
| Water tank Volume | L | 150 | 200 | 250 | 300 |
| Net Dimensions | mm | Φ620x1120 | Φ620x1370 | Φ650x1810 | Φ650x1960 |
| Packing Dimensions | mm | 760x730x1270 | 760x730x1520 | 680x650x2010 | 680x650x2160 |
| Net Weight | Kg | 75 | 87 | 102 | 110 |
| Gross Weight | Kg | 79 | 91 | 108 | 118 |
| Noise level | dB(A) | 48 | 48 | 48 | 48 |
| Container loading | 20' GP (units) | 24 | 24 | 27 | 27 |
|  | 40' GP (units) | 48 | 48 | 54 | 54 |
|  | 40' HQ (units) | 96 | 48 | 54 | 54 |
| Features included | Heating |
|  | 1.5kw auxiliary electrical heater |
|  | Electronic expansion valve |
|  | One extra set of heat exchanger |
|  | Magnesium stick |
|  | Relieve/safety valve |
| Notes: Capacities and power inputs based on the following conditions: - Heating: Ambient temperature 20℃ /12℃ , Water temperature from 15℃ to 55℃ . |

Heat pump supply is a China manufacturer and supplier of domestic all in one hot water air source heat pump. We provide domestic heat pump water heater, solar water heater, household heat pump water heater, solar collector, and much more.

Http://www.heatpumpsupply.com