## Solar Collector

Home » Products » Solar Water Heater » Solar Collector

Features of Solar Collector
1. Our solar collector can be manufactured in special design for overseas markets with special anodized aluminum alloy frame, featuring aesthetic appearance and it can bear high pressure without leakage.
2. Installation with 50mm fiber glass insulation and EPDM seal strip assure that the solar collector can work under harsh and very cold temperature.
3. The patterned tempered glass or low-iron tempered glass (4mm thickness) of our solar collector is not easy to break and it has very high transmission and low emission to ensure high solar yields.
4. The operation temperature of our collector is -33℃ ~ 120℃.
5. Our solar collector has passed EN12975 -1,2 test.
6. This product is also certified by Solar Keymark.

Technical Specification of Solar Collector

| Inner tank | SUS304-2B (δ=0.35), Color: natural color |
| --- | --- |
| Shell of tank | Aluminum-zinc coated steel plate (δ=0.4) Color: silver gray |
| End cap | Galvanized steel plate with plastic spraying (δ=0.4), Color: magenta |
| Bracket | Galvanized steel plate with plastic spraying (δ=1.1), Color: magenta |
| Vacuum tube type | φ58×1800, T super tube |
| Fivestar FS-III Colorful Screen Intelligent Controller | Optional |
| Models available | 14 tubes, 18 tubes, 22 tubes |

We are a professional solar collector manufacturer and supplier in China. Our company provides a wide variety of products, including solar water heater, commercial air source heat pump, household heat pump water heater, and much more.

http://www.heatpumpsupply.com

Solar Water Heater

Solar thermal collector

Solar Heating Kits

Solar Heating Accessories